## AT CIP 1T1L C1 SimulatorProfile
1 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Valve | CIP 1T1L C1 | V 01 Water Supply | Active |  | 2 | 10 | 2 | 990
2 | TRUE | Digital Input | CIP 1T1L C1 | LSL 02 CIP Low Level | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | < | 20 | 2
3 | TRUE | Digital Input | CIP 1T1L C1 | LSH 01 CIP High Level | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | > | 975 | 2
4 | TRUE | Analog Input | CIP 1T1L C1 | TT 02 Supply Temperature | Analog Output | CIP 1T1L C1 | CV 01 Steam Control | > | 10 | 1 | 1 | 2 | 60
5 | TRUE | Analog Input | CIP 1T1L C1 | TT 02 Supply Temperature | Analog Output | CIP 1T1L C1 | CV 01 Steam Control | < | 5 | 1 | -1 | 2 | 20
6 | TRUE | Digital Input | CIP 1T1L C1 | FS 03 Return Flow | Motor | CIP 1T1L C1 | P 01 CIP Supply Pump | Active |  | 20
7 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Valve | CIP 1T1L C1 | V 08 Return to CIP Tank | Active |  | 3 | 4 | 1 | 1000
8 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Motor | CIP 1T1L C1 | P 01 CIP Supply Pump | Active |  | 2 | -1 | 1 | 120
9 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Valve | CIP 1T1L C1 | V 02 CIP Tank Outlet | Active |  | 2 | -4 | 1 | 2
10 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Valve | CIP 1T1L C1 | V 03 CIP Tank Drain | Active |  | 1 | 10 | 1 | 2
11 | TRUE | Analog Input | CIP 1T1L C1 | CT 03 Return Conductivity | Valve | CIP 1T1L C1 | V 11 Detergent Supply | Active |  | 10 | 1 | 4 | 80
12 | TRUE | Analog Input | CIP 1T1L C1 | LT 01 CIP Tank Level | Valve | CIP 1T1L C1 | V 01 Water Supply | Active |  | 2 | 5 | 2 | 990